CENTRO UNIVERSITARIO COOPERAZIONE INTERNAZIONALE

Master

Doctors for Africa

Elementi Generali di Diagnostica ad Ultrasuoni, Teoria e Pratica

(vito moccia)

Training for the practice of medical ultrasound

Theoretical Training

- ultrasound physics

- ultrasound instrumentation

- scanning techniques

- ultrasound artefacts

- anatomy (of the relevant body systems)

- pathology (of the relevant body systems)

- ultrasound findings in the normal condition

- ultrasound findings in pathological conditions

- scan interpretation

- indications for ultrasound and inter-relationship with other imaging modalities

- ultrasound-guided procedures

- safety of ultrasound and contrast agents

Physics and Instrumentation

• 	Ultrasound physics.

•  History of diagnostic ultrasound and systems evolutions.

• 	The basic components of an ultrasound system.

• 	A sight to the future: PC Based beamformers – a new ultrasound philosophy.

• 	Types of transducer and the production of ultrasound, with an emphasis on operator  controlled variables.

• 	An understanding of the frequencies used in medical ultrasound and the effect on image quality and penetration.

• 	The interaction of ultrasound with tissue including biological effects.

• 	The basic principles of real time and Doppler ultrasound including colour flow and power Doppler.

• 	The recognition and explanation of common artefacts

• 	Image recording systems.

• 	The safety of ultrasound and of ultrasound contrast agents.

Ultrasound Techniques

• 	Ultrasound applications

• 	Patient information and preparation.

• 	Indications for examinations.

• 	Relevance of ultrasound to other imaging modalities.

• 	Scanning techniques including the use of spectral Doppler and color Doppler.

Administration

• 	Image recording.

• 	Image storing and filing.

• 	Reporting.

• 	Telemedicine applications

• 	Medico-legal aspects – outlining the responsibility to practice within specific levels of competence.

• 	The value and role of departmental protocols in determining the appropriate use of ultrasound

Practical Training

Practical training using TELEMED Diagnostic Ultrasound Systems.